## Electric
QXFA102 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | <-> | 13 | 14 | 15 | 16 | 17
|  |  | Trace Hipot | Winding | After Cure | Before React | Before React | After React | After OL Trace | After Closing | After Flipping | After IL Trace | After Closing | After Impregn |  | After Flipping | Impregn Coil | Pre-Shipment | Post-Shipment | Post-Shipment
|  |  | After Receiving |  | On C Mandrel | Open In R Tool | Open In R Tool | Open In R Tool | Open in R Tool | R/I Tool Closed | Open In I Tool | Open In I Tool | I Tool Closed | Open In I Tool |  | On V Blocks | No Metal Table | In Ship Crate | In Ship Crate | Wood Table
[5 empty] | OD Up | OD Up | ID Up | OD Up | OD Up | OD Up | ID Up | ID Up | ID Up | OD Up |  | ID Up | OD Up | OD Up | OD Up | OD Up
OPTIONAL
CONTINUITY |  |  |  | OK | OK | OK/NO | OK/NO | OK/NO |  |  | OK/NO |  |  | OK/NO |  | OK/NO | OK/NO | OK/NO | OK/NO
RLQ
|  | R (mΩ) |  |  | 532.14
Ls (mH)
|  | 20 Hz |  |  | 10.8313
100 Hz
1 kHz
Q
|  | 20 Hz |  |  | 2.32
100 Hz
1 kHz
QH R (Ω)
| NT | A01
| T | A02
| T-P | B01
| NT-P | B02
| T-M | B03
| NT-M | B04
VT R (mΩ)
A1
A2
A3
A4
A5
A6
A7
A8
B8
B7
B6
B5
B4
B3
B2
B1
HIPOT |  |  | OK/NO | [13 empty] | OK/NO | OK/NO |  | OK/NO
IMPULSE | [17 empty] | OK/NO | OK/NO

## Hipot - After Impregn
QXFA… | Coil |  |  |  | Hipot Checks | Date |  |  |  | Notes:
PHA 01 | 3200V/3200V (0.0μA) |  |  |  | Actual / Target (Leakage)
PHA 02 |  | PHA01 | PHA02 |  | (< 10 μA leakage)
PHB01
PHB02 |  |  |  | PHB01 | PHB02 | PHB03 | PHB04
PHB03
PHB04 | [7 empty] | LE IL Endshoe | RE IL Endshoe
LE IL Endshoe | 1000V/1000V (0.0μA) | 2500V/2500V (0.0μA)
LE OL Endshoe |  |  |  | 2500V/2500V (0.0μA) |  |  |  | 1000V/1000V (0.0μA)
RE IL Endshoe |  | 2500V/2500V (0.0μA)
RE OL Endshoe |  |  |  | 2500V/2500V (0.0μA) |  |  |  |  | 1000V/1000V (0.0μA)
Pole | 300V/300V (0.0μA)
OPTIONAL
QH to Coil
Coil to Pole
Coil to End
QH to End
End to End

## Hipot - Before Shipping
QXFA… | Coil |  |  |  | Hipot Checks | Date |  |  |  | Notes:
PHA 01 | 3200V/3200V (0.0μA) |  |  |  | Actual / Target (Leakage)
PHA 02 |  | PHA01 | PHA02 |  | (< 10 μA leakage)
PHB01
PHB02 |  |  |  | PHB01 | PHB02 | PHB03 | PHB04
PHB03
PHB04 | [7 empty] | LE IL Endshoe | RE IL Endshoe
LE IL Endshoe | 1000V/1000V (0.0μA) | 2500V/2500V (0.0μA)
LE OL Endshoe |  |  |  | 2500V/2500V (0.0μA) |  |  |  | 1000V/1000V (0.0μA)
RE IL Endshoe |  | 2500V/2500V (0.0μA)
RE OL Endshoe |  |  |  | 2500V/2500V (0.0μA) |  |  |  |  | 1000V/1000V (0.0μA)
Pole | 300V/300V (0.0μA)
QH to Coil
Coil to Pole
Coil to End
QH to End
End to End

## Impulse Test - Before Shipping
Time (ns) | 0.5 kV | 1.0 kV | 1.5 kV | 2.0 kV | 2.1 kV | 2.2 kV | 2.3 kV | 2.4 kV | 2.5 kV | Time (ns) | 0.5 kV | 1.0 kV | 1.5 kV | 2.0 kV | 2.1 kV | 2.2 kV | 2.3 kV | 2.4 kV | 2.5 kV
0 | [9 empty] | 0
100 | [9 empty] | 100
200 | [9 empty] | 200
300 | [9 empty] | 300
400 | [9 empty] | 400
500 | [9 empty] | 500
600 | [9 empty] | 600
700 | [9 empty] | 700
800 | [9 empty] | 800
900 | [9 empty] | 900
1000 | [9 empty] | 1000
1100 | [9 empty] | 1100
1200 | [9 empty] | 1200
1300 | [9 empty] | 1300
1400 | [9 empty] | 1400
1500 | [9 empty] | 1500
1600 | [9 empty] | 1600
1700 | [9 empty] | 1700
1800 | [9 empty] | 1800
1900 | [9 empty] | 1900
2000 | [9 empty] | 2000
2100 | [9 empty] | 2100
2200 | [9 empty] | 2200
2300 | [9 empty] | 2300
2400 | [9 empty] | 2400
2500 | [9 empty] | 2500
2600 | [9 empty] | 2600
2700 | [9 empty] | 2700
2800 | [9 empty] | 2800
2900 | [9 empty] | 2900
3000 | [9 empty] | 3000
3100 | [9 empty] | 3100
3200 | [9 empty] | 3200
3300 | [9 empty] | 3300
3400 | [9 empty] | 3400
3500 | [9 empty] | 3500
3600 | [9 empty] | 3600
3700 | [9 empty] | 3700
3800 | [9 empty] | 3800
3900 | [9 empty] | 3900
4000 | [9 empty] | 4000
4100 | [9 empty] | 4100
4200 | [9 empty] | 4200
4300 | [9 empty] | 4300
4400 | [9 empty] | 4400
4500 | [9 empty] | 4500
4600 | [9 empty] | 4600
4700 | [9 empty] | 4700
4800 | [9 empty] | 4800
4900 | [9 empty] | 4900
5000 | [9 empty] | 5000
5100 | [9 empty] | 5100
5200 | [9 empty] | 5200
5300 | [9 empty] | 5300
5400 | [9 empty] | 5400
5500 | [9 empty] | 5500
5600 | [9 empty] | 5600
5700 | [9 empty] | 5700
5800 | [9 empty] | 5800
5900 | [9 empty] | 5900
6000 | [9 empty] | 6000
6100 | [9 empty] | 6100
6200 | [9 empty] | 6200
6300 | [9 empty] | 6300
6400 | [9 empty] | 6400
6500 | [9 empty] | 6500
6600 | [9 empty] | 6600
6700 | [9 empty] | 6700
6800 | [9 empty] | 6800
6900 | [9 empty] | 6900
7000 | [9 empty] | 7000
7100 | [9 empty] | 7100
7200 | [9 empty] | 7200
7300 | [9 empty] | 7300
7400 | [9 empty] | 7400
7500 | [9 empty] | 7500
7600 | [9 empty] | 7600
7700 | [9 empty] | 7700
7800 | [9 empty] | 7800
7900 | [9 empty] | 7900
8000 | [9 empty] | 8000
8100 | [9 empty] | 8100
8200 | [9 empty] | 8200
8300 | [9 empty] | 8300
8400 | [9 empty] | 8400
8500 | [9 empty] | 8500
8600 | [9 empty] | 8600
8700 | [9 empty] | 8700
8800 | [9 empty] | 8800
8900 | [9 empty] | 8900
9000 | [9 empty] | 9000
9100 | [9 empty] | 9100
9200 | [9 empty] | 9200
9300 | [9 empty] | 9300
9400 | [9 empty] | 9400
9500 | [9 empty] | 9500
9600 | [9 empty] | 9600
9700 | [9 empty] | 9700
9800 | [9 empty] | 9800
9900 | [9 empty] | 9900
10000 | [9 empty] | 10000
10100 | [9 empty] | 10100
10200 | [9 empty] | 10200
10300 | [9 empty] | 10300
10400 | [9 empty] | 10400
10500 | [9 empty] | 10500
10600 | [9 empty] | 10600
10700 | [9 empty] | 10700
10800 | [9 empty] | 10800
10900 | [9 empty] | 10900
11000 | [9 empty] | 11000
11100 | [9 empty] | 11100
11200 | [9 empty] | 11200
11300 | [9 empty] | 11300
11400 | [9 empty] | 11400
11500 | [9 empty] | 11500
11600 | [9 empty] | 11600
11700 | [9 empty] | 11700
11800 | [9 empty] | 11800
11900 | [9 empty] | 11900
12000 | [9 empty] | 12000
12100 | [9 empty] | 12100
12200 | [9 empty] | 12200
12300 | [9 empty] | 12300
12400 | [9 empty] | 12400
12500 | [9 empty] | 12500
12600 | [9 empty] | 12600
12700 | [9 empty] | 12700
12800 | [9 empty] | 12800
12900 | [9 empty] | 12900
13000 | [9 empty] | 13000
13100 | [9 empty] | 13100
13200 | [9 empty] | 13200
13300 | [9 empty] | 13300
13400 | [9 empty] | 13400
13500 | [9 empty] | 13500
13600 | [9 empty] | 13600
13700 | [9 empty] | 13700
13800 | [9 empty] | 13800
13900 | [9 empty] | 13900
14000 | [9 empty] | 14000
14100 | [9 empty] | 14100
14200 | [9 empty] | 14200
14300 | [9 empty] | 14300
14400 | [9 empty] | 14400
14500 | [9 empty] | 14500
14600 | [9 empty] | 14600
14700 | [9 empty] | 14700
14800 | [9 empty] | 14800
14900 | [9 empty] | 14900
15000 | [9 empty] | 15000
15100 | [9 empty] | 15100
15200 | [9 empty] | 15200
15300 | [9 empty] | 15300
15400 | [9 empty] | 15400
15500 | [9 empty] | 15500
15600 | [9 empty] | 15600
15700 | [9 empty] | 15700
15800 | [9 empty] | 15800
15900 | [9 empty] | 15900
16000 | [9 empty] | 16000
16100 | [9 empty] | 16100
16200 | [9 empty] | 16200
16300 | [9 empty] | 16300
16400 | [9 empty] | 16400
16500 | [9 empty] | 16500
16600 | [9 empty] | 16600
16700 | [9 empty] | 16700
16800 | [9 empty] | 16800
16900 | [9 empty] | 16900
17000 | [9 empty] | 17000
17100 | [9 empty] | 17100
17200 | [9 empty] | 17200
17300 | [9 empty] | 17300
17400 | [9 empty] | 17400
17500 | [9 empty] | 17500
17600 | [9 empty] | 17600
17700 | [9 empty] | 17700
17800 | [9 empty] | 17800
17900 | [9 empty] | 17900
18000 | [9 empty] | 18000
18100 | [9 empty] | 18100
18200 | [9 empty] | 18200
18300 | [9 empty] | 18300
18400 | [9 empty] | 18400
18500 | [9 empty] | 18500
18600 | [9 empty] | 18600
18700 | [9 empty] | 18700
18800 | [9 empty] | 18800
18900 | [9 empty] | 18900
19000 | [9 empty] | 19000
19100 | [9 empty] | 19100
19200 | [9 empty] | 19200
19300 | [9 empty] | 19300
19400 | [9 empty] | 19400
19500 | [9 empty] | 19500
19600 | [9 empty] | 19600
19700 | [9 empty] | 19700
19800 | [9 empty] | 19800
19900 | [9 empty] | 19900
20000 | [9 empty] | 20000
20100 | [9 empty] | 20100
20200 | [9 empty] | 20200
20300 | [9 empty] | 20300
20400 | [9 empty] | 20400
20500 | [9 empty] | 20500
20600 | [9 empty] | 20600
20700 | [9 empty] | 20700
20800 | [9 empty] | 20800
20900 | [9 empty] | 20900
21000 | [9 empty] | 21000
21100 | [9 empty] | 21100
21200 | [9 empty] | 21200
21300 | [9 empty] | 21300
21400 | [9 empty] | 21400
21500 | [9 empty] | 21500
21600 | [9 empty] | 21600
21700 | [9 empty] | 21700
21800 | [9 empty] | 21800
21900 | [9 empty] | 21900
22000 | [9 empty] | 22000
22100 | [9 empty] | 22100
22200 | [9 empty] | 22200
22300 | [9 empty] | 22300
22400 | [9 empty] | 22400
22500 | [9 empty] | 22500
22600 | [9 empty] | 22600
22700 | [9 empty] | 22700
22800 | [9 empty] | 22800
22900 | [9 empty] | 22900
23000 | [9 empty] | 23000
23100 | [9 empty] | 23100
23200 | [9 empty] | 23200
23300 | [9 empty] | 23300
23400 | [9 empty] | 23400
23500 | [9 empty] | 23500
23600 | [9 empty] | 23600
23700 | [9 empty] | 23700
23800 | [9 empty] | 23800
23900 | [9 empty] | 23900
24000 | [9 empty] | 24000
24100 | [9 empty] | 24100
24200 | [9 empty] | 24200
24300 | [9 empty] | 24300
24400 | [9 empty] | 24400
24500 | [9 empty] | 24500
24600 | [9 empty] | 24600
24700 | [9 empty] | 24700
24800 | [9 empty] | 24800
24900 | [9 empty] | 24900
25000 | [9 empty] | 25000
25100 | [9 empty] | 25100
25200 | [9 empty] | 25200
25300 | [9 empty] | 25300
25400 | [9 empty] | 25400
25500 | [9 empty] | 25500
25600 | [9 empty] | 25600
25700 | [9 empty] | 25700
25800 | [9 empty] | 25800
25900 | [9 empty] | 25900
26000 | [9 empty] | 26000
26100 | [9 empty] | 26100
26200 | [9 empty] | 26200
26300 | [9 empty] | 26300
26400 | [9 empty] | 26400
26500 | [9 empty] | 26500
26600 | [9 empty] | 26600
26700 | [9 empty] | 26700
26800 | [9 empty] | 26800
26900 | [9 empty] | 26900
27000 | [9 empty] | 27000
27100 | [9 empty] | 27100
27200 | [9 empty] | 27200
27300 | [9 empty] | 27300
27400 | [9 empty] | 27400
27500 | [9 empty] | 27500
27600 | [9 empty] | 27600
27700 | [9 empty] | 27700
27800 | [9 empty] | 27800
27900 | [9 empty] | 27900
28000 | [9 empty] | 28000
28100 | [9 empty] | 28100
28200 | [9 empty] | 28200
28300 | [9 empty] | 28300
28400 | [9 empty] | 28400
28500 | [9 empty] | 28500
28600 | [9 empty] | 28600
28700 | [9 empty] | 28700
28800 | [9 empty] | 28800
28900 | [9 empty] | 28900
29000 | [9 empty] | 29000
29100 | [9 empty] | 29100
29200 | [9 empty] | 29200
29300 | [9 empty] | 29300
29400 | [9 empty] | 29400
29500 | [9 empty] | 29500
29600 | [9 empty] | 29600
29700 | [9 empty] | 29700
29800 | [9 empty] | 29800
29900 | [9 empty] | 29900
30000 | [9 empty] | 30000
30100 | [9 empty] | 30100
30200 | [9 empty] | 30200
30300 | [9 empty] | 30300
30400 | [9 empty] | 30400
30500 | [9 empty] | 30500
30600 | [9 empty] | 30600
30700 | [9 empty] | 30700
30800 | [9 empty] | 30800
30900 | [9 empty] | 30900
31000 | [9 empty] | 31000
31100 | [9 empty] | 31100
31200 | [9 empty] | 31200
31300 | [9 empty] | 31300
31400 | [9 empty] | 31400
31500 | [9 empty] | 31500
31600 | [9 empty] | 31600
31700 | [9 empty] | 31700
31800 | [9 empty] | 31800
31900 | [9 empty] | 31900
32000 | [9 empty] | 32000
32100 | [9 empty] | 32100
32200 | [9 empty] | 32200
32300 | [9 empty] | 32300
32400 | [9 empty] | 32400
32500 | [9 empty] | 32500
32600 | [9 empty] | 32600
32700 | [9 empty] | 32700
32800 | [9 empty] | 32800
32900 | [9 empty] | 32900
33000 | [9 empty] | 33000
33100 | [9 empty] | 33100
33200 | [9 empty] | 33200
33300 | [9 empty] | 33300
33400 | [9 empty] | 33400
33500 | [9 empty] | 33500
33600 | [9 empty] | 33600
33700 | [9 empty] | 33700
33800 | [9 empty] | 33800
33900 | [9 empty] | 33900
34000 | [9 empty] | 34000
34100 | [9 empty] | 34100
34200 | [9 empty] | 34200
34300 | [9 empty] | 34300
34400 | [9 empty] | 34400
34500 | [9 empty] | 34500
34600 | [9 empty] | 34600
34700 | [9 empty] | 34700
34800 | [9 empty] | 34800
34900 | [9 empty] | 34900
35000 | [9 empty] | 35000
35100 | [9 empty] | 35100
35200 | [9 empty] | 35200
35300 | [9 empty] | 35300
35400 | [9 empty] | 35400
35500 | [9 empty] | 35500
35600 | [9 empty] | 35600
35700 | [9 empty] | 35700
35800 | [9 empty] | 35800
35900 | [9 empty] | 35900
36000 | [9 empty] | 36000
36100 | [9 empty] | 36100
36200 | [9 empty] | 36200
36300 | [9 empty] | 36300
36400 | [9 empty] | 36400
36500 | [9 empty] | 36500
36600 | [9 empty] | 36600
36700 | [9 empty] | 36700
36800 | [9 empty] | 36800
36900 | [9 empty] | 36900
37000 | [9 empty] | 37000
37100 | [9 empty] | 37100
37200 | [9 empty] | 37200
37300 | [9 empty] | 37300
37400 | [9 empty] | 37400
37500 | [9 empty] | 37500
37600 | [9 empty] | 37600
37700 | [9 empty] | 37700
37800 | [9 empty] | 37800
37900 | [9 empty] | 37900
38000 | [9 empty] | 38000
38100 | [9 empty] | 38100
38200 | [9 empty] | 38200
38300 | [9 empty] | 38300
38400 | [9 empty] | 38400
38500 | [9 empty] | 38500
38600 | [9 empty] | 38600
38700 | [9 empty] | 38700
38800 | [9 empty] | 38800
38900 | [9 empty] | 38900
39000 | [9 empty] | 39000
39100 | [9 empty] | 39100
39200 | [9 empty] | 39200
39300 | [9 empty] | 39300
39400 | [9 empty] | 39400
39500 | [9 empty] | 39500
39600 | [9 empty] | 39600
39700 | [9 empty] | 39700
39800 | [9 empty] | 39800
39900 | [9 empty] | 39900
40000 | [9 empty] | 40000
40100 | [9 empty] | 40100
40200 | [9 empty] | 40200
40300 | [9 empty] | 40300
40400 | [9 empty] | 40400
40500 | [9 empty] | 40500
40600 | [9 empty] | 40600
40700 | [9 empty] | 40700
40800 | [9 empty] | 40800
40900 | [9 empty] | 40900
41000 | [9 empty] | 41000
41100 | [9 empty] | 41100
41200 | [9 empty] | 41200
41300 | [9 empty] | 41300
41400 | [9 empty] | 41400
41500 | [9 empty] | 41500
41600 | [9 empty] | 41600
41700 | [9 empty] | 41700
41800 | [9 empty] | 41800
41900 | [9 empty] | 41900
42000 | [9 empty] | 42000
42100 | [9 empty] | 42100
42200 | [9 empty] | 42200
42300 | [9 empty] | 42300
42400 | [9 empty] | 42400
42500 | [9 empty] | 42500
42600 | [9 empty] | 42600
42700 | [9 empty] | 42700
42800 | [9 empty] | 42800
42900 | [9 empty] | 42900
43000 | [9 empty] | 43000
43100 | [9 empty] | 43100
43200 | [9 empty] | 43200
43300 | [9 empty] | 43300
43400 | [9 empty] | 43400
43500 | [9 empty] | 43500
43600 | [9 empty] | 43600
43700 | [9 empty] | 43700
43800 | [9 empty] | 43800
43900 | [9 empty] | 43900
44000 | [9 empty] | 44000
44100 | [9 empty] | 44100
44200 | [9 empty] | 44200
44300 | [9 empty] | 44300
44400 | [9 empty] | 44400
44500 | [9 empty] | 44500
44600 | [9 empty] | 44600
44700 | [9 empty] | 44700
44800 | [9 empty] | 44800
44900 | [9 empty] | 44900
45000 | [9 empty] | 45000
45100 | [9 empty] | 45100
45200 | [9 empty] | 45200
45300 | [9 empty] | 45300
45400 | [9 empty] | 45400
45500 | [9 empty] | 45500
45600 | [9 empty] | 45600
45700 | [9 empty] | 45700
45800 | [9 empty] | 45800
45900 | [9 empty] | 45900
46000 | [9 empty] | 46000
46100 | [9 empty] | 46100
46200 | [9 empty] | 46200
46300 | [9 empty] | 46300
46400 | [9 empty] | 46400
46500 | [9 empty] | 46500
46600 | [9 empty] | 46600
46700 | [9 empty] | 46700
46800 | [9 empty] | 46800
46900 | [9 empty] | 46900
47000 | [9 empty] | 47000
47100 | [9 empty] | 47100
47200 | [9 empty] | 47200
47300 | [9 empty] | 47300
47400 | [9 empty] | 47400
47500 | [9 empty] | 47500
47600 | [9 empty] | 47600
47700 | [9 empty] | 47700
47800 | [9 empty] | 47800
47900 | [9 empty] | 47900
48000 | [9 empty] | 48000
48100 | [9 empty] | 48100
48200 | [9 empty] | 48200
48300 | [9 empty] | 48300
48400 | [9 empty] | 48400
48500 | [9 empty] | 48500
48600 | [9 empty] | 48600
48700 | [9 empty] | 48700
48800 | [9 empty] | 48800
48900 | [9 empty] | 48900
49000 | [9 empty] | 49000
49100 | [9 empty] | 49100
49200 | [9 empty] | 49200
49300 | [9 empty] | 49300
49400 | [9 empty] | 49400
49500 | [9 empty] | 49500
49600 | [9 empty] | 49600
49700 | [9 empty] | 49700
49800 | [9 empty] | 49800
49900 | [9 empty] | 49900
50000 | [9 empty] | 50000
50100 | [9 empty] | 50100
50200 | [9 empty] | 50200
50300 | [9 empty] | 50300
50400 | [9 empty] | 50400
50500 | [9 empty] | 50500
50600 | [9 empty] | 50600
50700 | [9 empty] | 50700
50800 | [9 empty] | 50800
50900 | [9 empty] | 50900
51000 | [9 empty] | 51000
51100 | [9 empty] | 51100
51200 | [9 empty] | 51200

## Impulse Test - After Shipping
Time (ns) | 0.5 kV | 1.0 kV | 1.5 kV | 2.0 kV | 2.1 kV | 2.2 kV | 2.3 kV | 2.4 kV | 2.5 kV | Time (ns) | 0.5 kV | 1.0 kV | 1.5 kV | 2.0 kV | 2.1 kV | 2.2 kV | 2.3 kV | 2.4 kV | 2.5 kV
0 | [9 empty] | 0
100 | [9 empty] | 100
200 | [9 empty] | 200
300 | [9 empty] | 300
400 | [9 empty] | 400
500 | [9 empty] | 500
600 | [9 empty] | 600
700 | [9 empty] | 700
800 | [9 empty] | 800
900 | [9 empty] | 900
1000 | [9 empty] | 1000
1100 | [9 empty] | 1100
1200 | [9 empty] | 1200
1300 | [9 empty] | 1300
1400 | [9 empty] | 1400
1500 | [9 empty] | 1500
1600 | [9 empty] | 1600
1700 | [9 empty] | 1700
1800 | [9 empty] | 1800
1900 | [9 empty] | 1900
2000 | [9 empty] | 2000
2100 | [9 empty] | 2100
2200 | [9 empty] | 2200
2300 | [9 empty] | 2300
2400 | [9 empty] | 2400
2500 | [9 empty] | 2500
2600 | [9 empty] | 2600
2700 | [9 empty] | 2700
2800 | [9 empty] | 2800
2900 | [9 empty] | 2900
3000 | [9 empty] | 3000
3100 | [9 empty] | 3100
3200 | [9 empty] | 3200
3300 | [9 empty] | 3300
3400 | [9 empty] | 3400
3500 | [9 empty] | 3500
3600 | [9 empty] | 3600
3700 | [9 empty] | 3700
3800 | [9 empty] | 3800
3900 | [9 empty] | 3900
4000 | [9 empty] | 4000
4100 | [9 empty] | 4100
4200 | [9 empty] | 4200
4300 | [9 empty] | 4300
4400 | [9 empty] | 4400
4500 | [9 empty] | 4500
4600 | [9 empty] | 4600
4700 | [9 empty] | 4700
4800 | [9 empty] | 4800
4900 | [9 empty] | 4900
5000 | [9 empty] | 5000
5100 | [9 empty] | 5100
5200 | [9 empty] | 5200
5300 | [9 empty] | 5300
5400 | [9 empty] | 5400
5500 | [9 empty] | 5500
5600 | [9 empty] | 5600
5700 | [9 empty] | 5700
5800 | [9 empty] | 5800
5900 | [9 empty] | 5900
6000 | [9 empty] | 6000
6100 | [9 empty] | 6100
6200 | [9 empty] | 6200
6300 | [9 empty] | 6300
6400 | [9 empty] | 6400
6500 | [9 empty] | 6500
6600 | [9 empty] | 6600
6700 | [9 empty] | 6700
6800 | [9 empty] | 6800
6900 | [9 empty] | 6900
7000 | [9 empty] | 7000
7100 | [9 empty] | 7100
7200 | [9 empty] | 7200
7300 | [9 empty] | 7300
7400 | [9 empty] | 7400
7500 | [9 empty] | 7500
7600 | [9 empty] | 7600
7700 | [9 empty] | 7700
7800 | [9 empty] | 7800
7900 | [9 empty] | 7900
8000 | [9 empty] | 8000
8100 | [9 empty] | 8100
8200 | [9 empty] | 8200
8300 | [9 empty] | 8300
8400 | [9 empty] | 8400
8500 | [9 empty] | 8500
8600 | [9 empty] | 8600
8700 | [9 empty] | 8700
8800 | [9 empty] | 8800
8900 | [9 empty] | 8900
9000 | [9 empty] | 9000
9100 | [9 empty] | 9100
9200 | [9 empty] | 9200
9300 | [9 empty] | 9300
9400 | [9 empty] | 9400
9500 | [9 empty] | 9500
9600 | [9 empty] | 9600
9700 | [9 empty] | 9700
9800 | [9 empty] | 9800
9900 | [9 empty] | 9900
10000 | [9 empty] | 10000
10100 | [9 empty] | 10100
10200 | [9 empty] | 10200
10300 | [9 empty] | 10300
10400 | [9 empty] | 10400
10500 | [9 empty] | 10500
10600 | [9 empty] | 10600
10700 | [9 empty] | 10700
10800 | [9 empty] | 10800
10900 | [9 empty] | 10900
11000 | [9 empty] | 11000
11100 | [9 empty] | 11100
11200 | [9 empty] | 11200
11300 | [9 empty] | 11300
11400 | [9 empty] | 11400
11500 | [9 empty] | 11500
11600 | [9 empty] | 11600
11700 | [9 empty] | 11700
11800 | [9 empty] | 11800
11900 | [9 empty] | 11900
12000 | [9 empty] | 12000
12100 | [9 empty] | 12100
12200 | [9 empty] | 12200
12300 | [9 empty] | 12300
12400 | [9 empty] | 12400
12500 | [9 empty] | 12500
12600 | [9 empty] | 12600
12700 | [9 empty] | 12700
12800 | [9 empty] | 12800
12900 | [9 empty] | 12900
13000 | [9 empty] | 13000
13100 | [9 empty] | 13100
13200 | [9 empty] | 13200
13300 | [9 empty] | 13300
13400 | [9 empty] | 13400
13500 | [9 empty] | 13500
13600 | [9 empty] | 13600
13700 | [9 empty] | 13700
13800 | [9 empty] | 13800
13900 | [9 empty] | 13900
14000 | [9 empty] | 14000
14100 | [9 empty] | 14100
14200 | [9 empty] | 14200
14300 | [9 empty] | 14300
14400 | [9 empty] | 14400
14500 | [9 empty] | 14500
14600 | [9 empty] | 14600
14700 | [9 empty] | 14700
14800 | [9 empty] | 14800
14900 | [9 empty] | 14900
15000 | [9 empty] | 15000
15100 | [9 empty] | 15100
15200 | [9 empty] | 15200
15300 | [9 empty] | 15300
15400 | [9 empty] | 15400
15500 | [9 empty] | 15500
15600 | [9 empty] | 15600
15700 | [9 empty] | 15700
15800 | [9 empty] | 15800
15900 | [9 empty] | 15900
16000 | [9 empty] | 16000
16100 | [9 empty] | 16100
16200 | [9 empty] | 16200
16300 | [9 empty] | 16300
16400 | [9 empty] | 16400
16500 | [9 empty] | 16500
16600 | [9 empty] | 16600
16700 | [9 empty] | 16700
16800 | [9 empty] | 16800
16900 | [9 empty] | 16900
17000 | [9 empty] | 17000
17100 | [9 empty] | 17100
17200 | [9 empty] | 17200
17300 | [9 empty] | 17300
17400 | [9 empty] | 17400
17500 | [9 empty] | 17500
17600 | [9 empty] | 17600
17700 | [9 empty] | 17700
17800 | [9 empty] | 17800
17900 | [9 empty] | 17900
18000 | [9 empty] | 18000
18100 | [9 empty] | 18100
18200 | [9 empty] | 18200
18300 | [9 empty] | 18300
18400 | [9 empty] | 18400
18500 | [9 empty] | 18500
18600 | [9 empty] | 18600
18700 | [9 empty] | 18700
18800 | [9 empty] | 18800
18900 | [9 empty] | 18900
19000 | [9 empty] | 19000
19100 | [9 empty] | 19100
19200 | [9 empty] | 19200
19300 | [9 empty] | 19300
19400 | [9 empty] | 19400
19500 | [9 empty] | 19500
19600 | [9 empty] | 19600
19700 | [9 empty] | 19700
19800 | [9 empty] | 19800
19900 | [9 empty] | 19900
20000 | [9 empty] | 20000
20100 | [9 empty] | 20100
20200 | [9 empty] | 20200
20300 | [9 empty] | 20300
20400 | [9 empty] | 20400
20500 | [9 empty] | 20500
20600 | [9 empty] | 20600
20700 | [9 empty] | 20700
20800 | [9 empty] | 20800
20900 | [9 empty] | 20900
21000 | [9 empty] | 21000
21100 | [9 empty] | 21100
21200 | [9 empty] | 21200
21300 | [9 empty] | 21300
21400 | [9 empty] | 21400
21500 | [9 empty] | 21500
21600 | [9 empty] | 21600
21700 | [9 empty] | 21700
21800 | [9 empty] | 21800
21900 | [9 empty] | 21900
22000 | [9 empty] | 22000
22100 | [9 empty] | 22100
22200 | [9 empty] | 22200
22300 | [9 empty] | 22300
22400 | [9 empty] | 22400
22500 | [9 empty] | 22500
22600 | [9 empty] | 22600
22700 | [9 empty] | 22700
22800 | [9 empty] | 22800
22900 | [9 empty] | 22900
23000 | [9 empty] | 23000
23100 | [9 empty] | 23100
23200 | [9 empty] | 23200
23300 | [9 empty] | 23300
23400 | [9 empty] | 23400
23500 | [9 empty] | 23500
23600 | [9 empty] | 23600
23700 | [9 empty] | 23700
23800 | [9 empty] | 23800
23900 | [9 empty] | 23900
24000 | [9 empty] | 24000
24100 | [9 empty] | 24100
24200 | [9 empty] | 24200
24300 | [9 empty] | 24300
24400 | [9 empty] | 24400
24500 | [9 empty] | 24500
24600 | [9 empty] | 24600
24700 | [9 empty] | 24700
24800 | [9 empty] | 24800
24900 | [9 empty] | 24900
25000 | [9 empty] | 25000
25100 | [9 empty] | 25100
25200 | [9 empty] | 25200
25300 | [9 empty] | 25300
25400 | [9 empty] | 25400
25500 | [9 empty] | 25500
25600 | [9 empty] | 25600
25700 | [9 empty] | 25700
25800 | [9 empty] | 25800
25900 | [9 empty] | 25900
26000 | [9 empty] | 26000
26100 | [9 empty] | 26100
26200 | [9 empty] | 26200
26300 | [9 empty] | 26300
26400 | [9 empty] | 26400
26500 | [9 empty] | 26500
26600 | [9 empty] | 26600
26700 | [9 empty] | 26700
26800 | [9 empty] | 26800
26900 | [9 empty] | 26900
27000 | [9 empty] | 27000
27100 | [9 empty] | 27100
27200 | [9 empty] | 27200
27300 | [9 empty] | 27300
27400 | [9 empty] | 27400
27500 | [9 empty] | 27500
27600 | [9 empty] | 27600
27700 | [9 empty] | 27700
27800 | [9 empty] | 27800
27900 | [9 empty] | 27900
28000 | [9 empty] | 28000
28100 | [9 empty] | 28100
28200 | [9 empty] | 28200
28300 | [9 empty] | 28300
28400 | [9 empty] | 28400
28500 | [9 empty] | 28500
28600 | [9 empty] | 28600
28700 | [9 empty] | 28700
28800 | [9 empty] | 28800
28900 | [9 empty] | 28900
29000 | [9 empty] | 29000
29100 | [9 empty] | 29100
29200 | [9 empty] | 29200
29300 | [9 empty] | 29300
29400 | [9 empty] | 29400
29500 | [9 empty] | 29500
29600 | [9 empty] | 29600
29700 | [9 empty] | 29700
29800 | [9 empty] | 29800
29900 | [9 empty] | 29900
30000 | [9 empty] | 30000
30100 | [9 empty] | 30100
30200 | [9 empty] | 30200
30300 | [9 empty] | 30300
30400 | [9 empty] | 30400
30500 | [9 empty] | 30500
30600 | [9 empty] | 30600
30700 | [9 empty] | 30700
30800 | [9 empty] | 30800
30900 | [9 empty] | 30900
31000 | [9 empty] | 31000
31100 | [9 empty] | 31100
31200 | [9 empty] | 31200
31300 | [9 empty] | 31300
31400 | [9 empty] | 31400
31500 | [9 empty] | 31500
31600 | [9 empty] | 31600
31700 | [9 empty] | 31700
31800 | [9 empty] | 31800
31900 | [9 empty] | 31900
32000 | [9 empty] | 32000
32100 | [9 empty] | 32100
32200 | [9 empty] | 32200
32300 | [9 empty] | 32300
32400 | [9 empty] | 32400
32500 | [9 empty] | 32500
32600 | [9 empty] | 32600
32700 | [9 empty] | 32700
32800 | [9 empty] | 32800
32900 | [9 empty] | 32900
33000 | [9 empty] | 33000
33100 | [9 empty] | 33100
33200 | [9 empty] | 33200
33300 | [9 empty] | 33300
33400 | [9 empty] | 33400
33500 | [9 empty] | 33500
33600 | [9 empty] | 33600
33700 | [9 empty] | 33700
33800 | [9 empty] | 33800
33900 | [9 empty] | 33900
34000 | [9 empty] | 34000
34100 | [9 empty] | 34100
34200 | [9 empty] | 34200
34300 | [9 empty] | 34300
34400 | [9 empty] | 34400
34500 | [9 empty] | 34500
34600 | [9 empty] | 34600
34700 | [9 empty] | 34700
34800 | [9 empty] | 34800
34900 | [9 empty] | 34900
35000 | [9 empty] | 35000
35100 | [9 empty] | 35100
35200 | [9 empty] | 35200
35300 | [9 empty] | 35300
35400 | [9 empty] | 35400
35500 | [9 empty] | 35500
35600 | [9 empty] | 35600
35700 | [9 empty] | 35700
35800 | [9 empty] | 35800
35900 | [9 empty] | 35900
36000 | [9 empty] | 36000
36100 | [9 empty] | 36100
36200 | [9 empty] | 36200
36300 | [9 empty] | 36300
36400 | [9 empty] | 36400
36500 | [9 empty] | 36500
36600 | [9 empty] | 36600
36700 | [9 empty] | 36700
36800 | [9 empty] | 36800
36900 | [9 empty] | 36900
37000 | [9 empty] | 37000
37100 | [9 empty] | 37100
37200 | [9 empty] | 37200
37300 | [9 empty] | 37300
37400 | [9 empty] | 37400
37500 | [9 empty] | 37500
37600 | [9 empty] | 37600
37700 | [9 empty] | 37700
37800 | [9 empty] | 37800
37900 | [9 empty] | 37900
38000 | [9 empty] | 38000
38100 | [9 empty] | 38100
38200 | [9 empty] | 38200
38300 | [9 empty] | 38300
38400 | [9 empty] | 38400
38500 | [9 empty] | 38500
38600 | [9 empty] | 38600
38700 | [9 empty] | 38700
38800 | [9 empty] | 38800
38900 | [9 empty] | 38900
39000 | [9 empty] | 39000
39100 | [9 empty] | 39100
39200 | [9 empty] | 39200
39300 | [9 empty] | 39300
39400 | [9 empty] | 39400
39500 | [9 empty] | 39500
39600 | [9 empty] | 39600
39700 | [9 empty] | 39700
39800 | [9 empty] | 39800
39900 | [9 empty] | 39900
40000 | [9 empty] | 40000
40100 | [9 empty] | 40100
40200 | [9 empty] | 40200
40300 | [9 empty] | 40300
40400 | [9 empty] | 40400
40500 | [9 empty] | 40500
40600 | [9 empty] | 40600
40700 | [9 empty] | 40700
40800 | [9 empty] | 40800
40900 | [9 empty] | 40900
41000 | [9 empty] | 41000
41100 | [9 empty] | 41100
41200 | [9 empty] | 41200
41300 | [9 empty] | 41300
41400 | [9 empty] | 41400
41500 | [9 empty] | 41500
41600 | [9 empty] | 41600
41700 | [9 empty] | 41700
41800 | [9 empty] | 41800
41900 | [9 empty] | 41900
42000 | [9 empty] | 42000
42100 | [9 empty] | 42100
42200 | [9 empty] | 42200
42300 | [9 empty] | 42300
42400 | [9 empty] | 42400
42500 | [9 empty] | 42500
42600 | [9 empty] | 42600
42700 | [9 empty] | 42700
42800 | [9 empty] | 42800
42900 | [9 empty] | 42900
43000 | [9 empty] | 43000
43100 | [9 empty] | 43100
43200 | [9 empty] | 43200
43300 | [9 empty] | 43300
43400 | [9 empty] | 43400
43500 | [9 empty] | 43500
43600 | [9 empty] | 43600
43700 | [9 empty] | 43700
43800 | [9 empty] | 43800
43900 | [9 empty] | 43900
44000 | [9 empty] | 44000
44100 | [9 empty] | 44100
44200 | [9 empty] | 44200
44300 | [9 empty] | 44300
44400 | [9 empty] | 44400
44500 | [9 empty] | 44500
44600 | [9 empty] | 44600
44700 | [9 empty] | 44700
44800 | [9 empty] | 44800
44900 | [9 empty] | 44900
45000 | [9 empty] | 45000
45100 | [9 empty] | 45100
45200 | [9 empty] | 45200
45300 | [9 empty] | 45300
45400 | [9 empty] | 45400
45500 | [9 empty] | 45500
45600 | [9 empty] | 45600
45700 | [9 empty] | 45700
45800 | [9 empty] | 45800
45900 | [9 empty] | 45900
46000 | [9 empty] | 46000
46100 | [9 empty] | 46100
46200 | [9 empty] | 46200
46300 | [9 empty] | 46300
46400 | [9 empty] | 46400
46500 | [9 empty] | 46500
46600 | [9 empty] | 46600
46700 | [9 empty] | 46700
46800 | [9 empty] | 46800
46900 | [9 empty] | 46900
47000 | [9 empty] | 47000
47100 | [9 empty] | 47100
47200 | [9 empty] | 47200
47300 | [9 empty] | 47300
47400 | [9 empty] | 47400
47500 | [9 empty] | 47500
47600 | [9 empty] | 47600
47700 | [9 empty] | 47700
47800 | [9 empty] | 47800
47900 | [9 empty] | 47900
48000 | [9 empty] | 48000
48100 | [9 empty] | 48100
48200 | [9 empty] | 48200
48300 | [9 empty] | 48300
48400 | [9 empty] | 48400
48500 | [9 empty] | 48500
48600 | [9 empty] | 48600
48700 | [9 empty] | 48700
48800 | [9 empty] | 48800
48900 | [9 empty] | 48900
49000 | [9 empty] | 49000
49100 | [9 empty] | 49100
49200 | [9 empty] | 49200
49300 | [9 empty] | 49300
49400 | [9 empty] | 49400
49500 | [9 empty] | 49500
49600 | [9 empty] | 49600
49700 | [9 empty] | 49700
49800 | [9 empty] | 49800
49900 | [9 empty] | 49900
50000 | [9 empty] | 50000
50100 | [9 empty] | 50100
50200 | [9 empty] | 50200
50300 | [9 empty] | 50300
50400 | [9 empty] | 50400
50500 | [9 empty] | 50500
50600 | [9 empty] | 50600
50700 | [9 empty] | 50700
50800 | [9 empty] | 50800
50900 | [9 empty] | 50900
51000 | [9 empty] | 51000
51100 | [9 empty] | 51100
51200 | [9 empty] | 51200

## Hipot - After Shipping
QXFA… | Coil |  |  |  | Hipot Checks | Date |  |  |  | Notes:
PHA 01 | 3200V/3200V (0.0μA) |  |  |  | Actual / Target (Leakage)
PHA 02 |  | PHA01 | PHA02 |  | (< 10 μA leakage)
PHB01
PHB02 |  |  |  | PHB01 | PHB02 | PHB03 | PHB04
PHB03
PHB04 | [7 empty] | LE IL Endshoe | RE IL Endshoe
LE IL Endshoe | 1000V/1000V (0.0μA) | 2500V/2500V (0.0μA)
LE OL Endshoe |  |  |  | 2500V/2500V (0.0μA) |  |  |  | 1000V/1000V (0.0μA)
RE IL Endshoe |  | 2500V/2500V (0.0μA)
RE OL Endshoe |  |  |  | 2500V/2500V (0.0μA) |  |  |  |  | 1000V/1000V (0.0μA)
Pole | 300V/300V (0.0μA)
QH to Coil
Coil to Pole
Coil to End
QH to End
End to End